A CAPSTONE PROJECT REPORT

REAL-TIME ENERGY MONITORING AND POWER CONSUMPTION ANALYSIS

A Capstone Project Report submitted in partial fulfilment of the requirements for the Course of

CSA1223& Computer Architecture

to the award of the degree of

BACHELOR OF TECHNOLOGY

INFORMATION TECHNOLOGY

Submitted by

Padma Sree .D(192521241)

Under the Supervision of

AGNES SHIFANI S

SEPTEMBER 2026

SIMATS ENGINEERING

Saveetha Institute of Medical and Technical Sciences

Chennai – 602105

SIMATS ENGINEERING

Saveetha Institute of Medical and Technical Sciences

Chennai – 602105

BONAFIDE CERTIFICATE

This is to certify that the Capstone Project entitled “Real-time Energy Monitoring and Power Consumption Analysis” has been carried out by PadmaSree.D (192521241) under the supervision of Guide Name and is submitted in partial fulfilment of the requirements for the current semester of the B.Tech Information Technology program at Saveetha Institute of Medical and Technical Sciences, Chennai.

| Role | Name / Designation | Signature |
| --- | --- | --- |
| Course Coordinator | Title / Name, Designation |  |
| Course Faculty | Title / Name, Designation |  |
| Project Guide | Guide Name, Designation |  |

SIMATS ENGINEERING

Saveetha Institute of Medical and Technical Sciences

Chennai – 602105

DECLARATION

We, [Padma Sree.D(192521241)] of the [IT], SIMATS Engineering, Saveetha Institute of Medical and Technical Sciences, Chennai, hereby declare that the Capstone Project Work entitled “Real-time Energy Monitoring and Power Consumption Analysis” is the result of our own bonafide efforts. To the best of our knowledge, the work presented herein is original, accurate, and has been carried out in accordance with the principles of engineering ethics and academic integrity. All sources, references, data, and other materials used in the project have been appropriately acknowledged.

We further declare that the data, results, analysis, and findings presented in this report have not been fabricated, falsified, or manipulated. Any external tools, software, datasets, computational resources, or AI-assisted tools used during the project have been appropriately disclosed. We confirm that all applicable ethical, academic, institutional, and professional requirements have been duly followed throughout the planning, execution, analysis, and documentation of the project.

Place: ____________________

Date: _____________________

Signature of the Students with Names

D.Padma sree(192521241)

SIMATS ENGINEERING

Saveetha Institute of Medical and Technical Sciences

Chennai – 602105

INDIVIDUAL CONTRIBUTION STATEMENT

| Student | Specific Responsibilities | Design & Development | Testing & Analysis | Report Contribution | Approx. % |
| --- | --- | --- | --- | --- | --- |
| Student 1 | System design, data acquisition | Architecture and implementation | Sensor/system testing | Chapters 1–3 | __% |
| Student 2 | Dashboard and analytics | Interface and visualization | Data analysis and validation | Chapters 4–5 | __% |
| Student 3 | Database / software support | Data storage and processing | Performance testing | Relevant sections | __% |
| Student 4 | Documentation / integration | Integration support | Verification | Relevant sections | __% |
| Total |  |  |  |  | 100% |

## ACKNOWLEDGEMENT

We would like to express our heartfelt gratitude to all those who supported and guided us throughout the successful completion of our Capstone Project. We are deeply thankful to our respected Founder and Chancellor, Dr. N.M. Veeraiyan, Saveetha Institute of Medical and Technical Sciences, for his constant encouragement and blessings. We also express our sincere thanks to our Pro-Chancellor, Dr. Deepak Nallaswamy Veeraiyan, and our Vice-Chancellor, Dr. Ashwani Kumar , for their visionary leadership and moral support during the course of this project.

We are truly grateful to our Director, Dr. Ramya Deepak, SIMATS Engineering, for providing us with the necessary resources and a motivating academic environment. Our special thanks to our Principal, Dr. B. Ramesh for granting us access to the institute’s facilities and encouraging us throughout the process. We sincerely thank our Head of the Department, Dr.G.Pharlyn pushpalatha for her continuous support, valuable guidance, and constant motivatio

We are especially indebted to our guide, Dr. Gururama Senthilvel P and for   his creative suggestions, consistent feedback, and unwavering support during each stage of the project. We also express our gratitude to the Project Coordinators, Review Panel Members (Internal and External), and the entire faculty team for their constructive feedback and valuable inputs that helped improve the quality of our work. Finally, we thank all faculty members, lab technicians, our parents, and friends for their continuous encouragement and support.

Signature With Student name

D Padmasree (192521241)

# ABSTRACT

Electrical energy is consumed continuously by homes, laboratories, offices, educational institutions, and industrial facilities, but consumption is often difficult to understand when information is available only through periodic meter readings. The project “Real-time Energy Monitoring and Power Consumption Analysis” addresses this engineering problem by proposing a system that measures electrical parameters continuously, calculates power and energy consumption, stores time-stamped readings, and presents the information through a user-friendly monitoring interface.

The proposed system is designed around real-time acquisition of electrical measurements such as voltage, current, instantaneous power, cumulative energy, and related operating indicators. A sensing and measurement layer collects readings from the monitored electrical load. A processing layer validates and calculates the required parameters, while a data storage layer maintains historical measurements for analysis. A visualization layer presents current values, trends, consumption summaries, and alerts so that abnormal or unusually high consumption can be identified.

The methodology includes system requirement analysis, hardware and software architecture design, sensor/data acquisition, parameter calculation, database integration, dashboard development, testing, and power-consumption analysis. The analysis can be extended to hourly, daily, weekly, and monthly consumption patterns. By comparing measured energy usage across time periods and operating conditions, the system supports informed decisions about energy efficiency and load management.

The expected engineering outcome is a practical monitoring prototype or software-assisted monitoring platform capable of providing timely energy information instead of relying solely on manual observation. The project demonstrates how sensing, data processing, storage, visualization, and analytics can be integrated into a single system. The principal conclusion is that continuous monitoring can improve visibility of energy usage, support identification of inefficient operating patterns, and provide a foundation for future predictive energy-management applications.

Keywords: Real-time Energy Monitoring, Power Consumption, Energy Metering, IoT, Data Analytics, Energy Efficiency

# TABLE OF CONTENTS

| Sl. No. | Title | Page No. |
| --- | --- | --- |
| i | CERTIFICATE FROM THE SUPERVISOR | ii |
| ii | DECLARATION BY THE CANDIDATE | iii |
| iii | INDIVIDUAL CONTRIBUTION STATEMENT | iv |
| iv | ABSTRACT | v |
| v | LIST OF FIGURES | vi |
| vi | LIST OF TABLES | vii |
| vii | LIST OF ABBREVIATIONS | viii |
| 1 | CHAPTER 1: Introduction | 1 |
| 2 | CHAPTER 2: Literature Review | 5 |
| 3 | CHAPTER 3: Engineering Design & Trade-offs, Sustainability, Ethics, Safety, Risk & Security | 9 |
| 4 | CHAPTER 4: Implementation, Testing & Results, Project Management | 17 |
| 5 | CHAPTER 5: Conclusion & Reflection | 27 |
|  | References | 31 |
|  | Appendices | 33 |

# LIST OF FIGURES

| Figure No. | Figure Name | Page No. |
| --- | --- | --- |
| Fig. 3.1 | Proposed System Architecture of ThreatPath | 10 |
| Fig. 3.2 | ThreatPath Module Interaction | 11 |
| Fig. 3.3 | Network Graph and Attack Path Workflow | 13 |
| Fig. 4.1 | User Authentication Interface | 18 |
| Fig. 4.2 | Asset Management Interface | 19 |
| Fig. 4.3 | Network Graph and Attack Path Analysis Interface | 21 |
| Fig. 4.4 | Risk Assessment Interface | 23 |
| Fig. 4.5 | Security Report Generation | 24 |
| Fig. 4.6 | Final Application Output | 25 |

# LIST OF TABLES

| Table No. | Table Name | Page No. |
| --- | --- | --- |
| Table 1.1 | Functional and Non-Functional Requirements | 3 |
| Table 2.1 | Literature Review Summary | 6 |
| Table 2.2 | Comparison of Existing and Proposed System | 7 |
| Table 3.1 | Module Description | 10 |
| Table 3.2 | System Design and Trade-off Analysis | 12 |
| Table 3.3 | Risk, Security and Ethical Considerations | 14 |
| Table 4.1 | Test Cases and Results | 20 |
| Table 4.2 | Individual Contribution of Team Members | 25 |

# LIST OF ABBREVIATIONS / SYMBOLS

| Symbol | Description | Unit |
| --- | --- | --- |
| V | Voltage | Volt (V) |
| I | Current | Ampere (A) |
| P | Active power | Watt (W) |
| E | Electrical energy | Wh / kWh |
| IoT | Internet of Things | — |
| AC | Alternating Current | — |
| RMS | Root Mean Square | — |
| API | Application Programming Interface | — |

# CHAPTER 1: INTRODUCTION AND ENGINEERING PROBLEM

## 1.1 Background

Energy consumption is a measurable indicator of how electrical systems and equipment operate. In many practical environments, users know the total amount of energy used but have limited visibility into when, where, and how quickly that energy is being consumed. Real-time monitoring changes this situation by making electrical measurements available continuously and converting raw readings into information that can be interpreted by users.

The proposed project combines electrical measurement, embedded or software-based processing, data communication, storage, and visualization. The system can be applied to individual appliances, rooms, laboratories, small buildings, or other suitable monitored loads, subject to electrical safety requirements. The monitoring platform is intended to show present consumption and historical trends so that high-load periods and unusual patterns can be investigated.

## 1.2 Need for the Project

Manual or periodic meter readings provide limited information about short-duration consumption changes.

Users may not immediately recognize which operating periods or loads contribute most to energy usage.

Continuous measurements can support faster identification of unusual or unexpectedly high consumption.

Historical energy data is useful for comparing operating periods and evaluating energy-saving measures.

From an engineering perspective, the project integrates sensing, communication, computation, data storage, and analytics into one monitoring workflow.

## 1.3 Problem Statement

The engineering problem is to design and implement a real-time energy monitoring and power consumption analysis system that can acquire electrical measurements at defined intervals, calculate meaningful power and energy parameters, store time-stamped observations, and present current and historical information to users. The design must balance measurement accuracy, sampling rate, processing requirements, communication reliability, cost, electrical safety, data storage, and ease of use.

## 1.4 Project Aim

To develop a real-time energy monitoring and power consumption analysis system that measures electrical usage continuously, provides understandable consumption information, and supports analysis of energy-use patterns.

## 1.5 Project Objectives

To identify the electrical parameters required for real-time energy monitoring.

To design a measurement and data-acquisition workflow for collecting electrical readings.

To calculate instantaneous power and cumulative energy from measured parameters.

To store time-stamped readings for historical analysis.

To develop a dashboard for real-time visualization of energy-related measurements.

To test the system under representative load conditions and evaluate measurement and software performance.

To analyze consumption patterns and identify opportunities for improved energy awareness and efficiency.

## 1.6 Scope

Included: measurement of relevant electrical parameters, data acquisition, parameter calculation, time-stamped storage, real-time visualization, historical trend analysis, basic threshold-based alerts, and system testing. Excluded: utility billing certification, high-voltage installation work, automatic switching of mains equipment unless separately engineered and approved, and long-term predictive models beyond the demonstrated project scope.

Assumptions include a suitable and safely isolated measurement arrangement, stable communication between measurement and processing layers, correctly configured sensors/meters, and representative loads within the selected measurement range. Boundary conditions include the rated measurement limits of the sensing hardware and the sampling/update interval selected for the prototype.

## 1.7 Expected Engineering Outcome

The intended outcome is a working monitoring prototype or software-assisted platform that presents current electrical consumption, records historical measurements, and produces basic consumption analysis. The system should provide a clear interface through which users can observe energy usage and investigate changes over time.

# CHAPTER 2: LITERATURE REVIEW AND EXISTING SOLUTIONS

## 2.1 Review Method

Relevant literature and existing technologies for energy metering, IoT-based monitoring, electrical sensing, dashboard visualization, and energy analytics were considered to identify common system architectures and engineering requirements. The review focused on measurement methods, real-time communication, data storage, visualization, and practical limitations of monitoring solutions.

## 2.2 Review of Existing Work

Traditional electricity meters provide cumulative energy information and are effective for billing and basic consumption tracking. However, they generally do not provide the same level of continuous, user-oriented visualization available in a dedicated monitoring platform.

IoT-based energy monitoring systems commonly combine sensors or digital energy meters with a microcontroller or gateway and a network connection. Measurements can be transmitted to a local or cloud-based application where users can view current values and historical trends. Such systems improve accessibility but introduce dependencies on communication reliability, software configuration, and data management.

Energy analytics platforms extend monitoring by aggregating readings over time and generating comparisons, summaries, and alerts. Their usefulness depends strongly on measurement quality, appropriate sampling, reliable timestamps, and meaningful presentation of the data.

## 2.3 Comparative Analysis

| Existing Approach | Advantages | Limitations | Relevance |
| --- | --- | --- | --- |
| Manual meter reading | Simple; low additional infrastructure | Low temporal detail; manual effort | Provides baseline comparison |
| Standalone digital meter | Direct electrical measurement | Limited analytics and visualization | Useful measurement source |
| IoT monitoring | Remote and continuous access | Network and integration dependencies | Closely related to proposed system |
| Cloud analytics | Scalable storage and visualization | Internet/cloud dependency; recurring cost possible | Future extension of project |
| Proposed monitoring platform | Integrated measurement, storage, visualization and analysis | Prototype scale and sensor limits | Primary project approach |

## 2.4 Research / Engineering Gap

A practical gap exists between simply measuring energy and turning measurements into information that can be interpreted in real time. A useful project must connect reliable measurement with time-stamped storage, visualization, and analysis while keeping the architecture sufficiently simple and economical for a prototype.

## 2.5 Proposed Contribution

The proposed work contributes an integrated real-time workflow in which electrical measurements are acquired, processed, stored, visualized, and analyzed within one system. The emphasis is on engineering integration and practical interpretation of consumption data rather than measurement alone.

# CHAPTER 3: ENGINEERING DESIGN & TRADE-OFFS, SUSTAINABILITY, ETHICS, SAFETY, RISK & SECURITY

## 3.1 Requirements

| Stakeholder / User | Requirement |
| --- | --- |
| Student / Project Team | Reliable real-time measurements and simple implementation |
| End User | Clear current consumption and historical trends |
| Project Assessor | Measurable testing and documented engineering decisions |
| Administrator / Maintainer | Accessible stored data and manageable configuration |

## Functional & Non-Functional Requirements

| Requirement Type | Requirement | Measurable Target |
| --- | --- | --- |
| Functional | Acquire electrical measurements | Continuous/periodic readings at configured interval |
| Functional | Calculate power and energy | Correct calculation from measured parameters |
| Functional | Store readings | Time-stamped records without data loss under normal operation |
| Functional | Visualize consumption | Dashboard showing current values and trends |
| Functional | Generate basic alerts | Threshold comparison when configured |
| Non-Functional | Usability | Readable interface and understandable units |
| Non-Functional | Reliability | Stable operation during defined test period |
| Non-Functional | Safety | Measurement arrangement isolated and operated within ratings |
| Non-Functional | Security | Controlled access to stored/dashboard data where applicable |

## 3.2 Constraints & Applicable Standards

The project is constrained by sensor range and accuracy, prototype budget, processing and storage capacity, communication reliability, and safe handling of electrical circuits. The exact electrical installation and measurement arrangement must follow applicable institutional and electrical safety requirements. Where a digital energy meter or current/voltage sensing device is used, its manufacturer ratings and datasheet requirements are treated as mandatory design constraints.

| Standard / Code | Requirement | How Applied in This Project |
| --- | --- | --- |
| IEC 62052-11 | General requirements for electricity metering equipment | Used as a reference when selecting/evaluating metering characteristics where applicable |
| IEC 62053 series | Electricity metering equipment accuracy requirements | Used as a reference for meter accuracy considerations where applicable |
| Local electrical safety requirements | Safe installation and operation of electrical equipment | Applied to isolation, enclosure, wiring, and supervised testing |
| Manufacturer datasheet | Electrical and environmental operating limits | Applied to sensor/meter selection and test boundaries |

## 3.3 Design Specifications

| Parameter | Target / Requirement | Unit | Priority |
| --- | --- | --- | --- |
| Voltage measurement | Within selected sensor/meter rated range | V | High |
| Current measurement | Within selected sensor/meter rated range | A | High |
| Power calculation | Computed from measured electrical parameters | W | High |
| Energy accumulation | Time-based integration/energy reading | Wh / kWh | High |
| Update interval | Configurable for near-real-time display | s | High |
| Data storage | Time-stamped historical records | records | High |
| Dashboard | Current values + trend charts | — | Medium |
| Alert threshold | User/configurable threshold | W or kW | Medium |

## 3.4 Alternative Solutions & Evaluation

Alternative 1: Manual or periodic meter reading. This approach requires minimal additional hardware but provides limited temporal information and does not support automatic real-time analytics.

Alternative 2: Standalone digital energy meter. This provides direct electrical measurements with relatively simple deployment, but analysis and historical visualization may be limited.

Alternative 3: Integrated IoT-based monitoring platform. This combines measurement, processing, communication, storage, and visualization and therefore best matches the project objectives.

| Criterion | Weight | Alternative 1 | Alternative 2 | Alternative 3 |
| --- | --- | --- | --- | --- |
| Performance | 25% | 2/5 | 4/5 | 5/5 |
| Cost | 20% | 5/5 | 4/5 | 3/5 |
| Safety | 20% | 4/5 | 4/5 | 4/5 |
| Sustainability | 15% | 4/5 | 4/5 | 4/5 |
| Reliability | 20% | 4/5 | 5/5 | 4/5 |
| Weighted decision | 100% | 3.75/5 | 4.20/5 | 4.10/5 |

The integrated platform is selected because it directly supports the required real-time monitoring and analysis functions. The standalone meter may offer strong measurement reliability, but additional software integration is required to achieve the full project objective.

## 3.5 Selected Design & Detailed Design

The selected architecture consists of five interacting layers: measurement, processing, communication, storage, and visualization. Electrical measurements are obtained from an appropriately rated sensing/metering stage. The processing stage validates and converts measurements into power and energy values. The communication stage transfers records to the monitoring application, where the storage layer maintains historical data and the visualization layer displays current and historical information.

Essential calculation: for a simplified resistive load, instantaneous active power may be estimated as P = V × I. For AC systems with power factor information, active power can be represented using P = V × I × PF. Energy over a time interval is obtained by accumulating power with respect to time; for constant power over an interval, E = P × t, with appropriate unit conversion.

System interfaces are designed so that measurement data flows from the sensing stage to the processing stage, then to storage and visualization. The dashboard depends on correctly timestamped and validated measurements. Historical analysis depends on consistent sampling and data retention. Alerts depend on both valid current measurements and configured threshold values.

## 3.6 Trade-off Analysis

| Design Decision | Alternative Considered | Benefit | Disadvantage | Final Decision & Justification |
| --- | --- | --- | --- | --- |
| Real-time updates | Longer periodic updates | Faster awareness | More processing/network activity | Use configurable short update interval |
| Local database | Cloud-only database | Works with local network/offline conditions | Limited remote scalability | Use local-first storage for prototype |
| Dashboard charts | Tables only | Easier trend interpretation | Requires visualization development | Use charts + summary values |
| Threshold alerts | No alerts | Early indication of high use | Requires threshold configuration | Include basic alerts |

## 3.7 Sustainability, Ethics, Safety, Risk & Security

| Domain |  | Consideration |  | Evidence Evaluated |  | Impact on Final Decision |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sustainability |  | Reduce unnecessary energy use |  | Consumption trends and high-load periods |  | Monitoring and comparison functions retained |  |
| Ethics |  | Accurate and honest reporting |  | Validation and transparent calculation methods |  | No fabricated measurements; limitations documented |  |
| Health & Safety |  | Electrical isolation and rated components |  | Datasheets, ratings, supervised testing |  | Safe measurement arrangement required |  |
| Security |  | Protect stored/dashboard data |  | Access controls and network exposure |  | Limit access and avoid unnecessary sensitive data |  |
| Risk |  | Sensor/communication failure |  | Test observations and error handling |  | Validation and fallback handling included |  |
| Risk | Likelihood |  | Severity | Risk Level | Mitigation |  | Residual Risk |
| Incorrect sensor reading | Medium |  | High | High | Calibration/check against reference measurement |  | Medium |
| Loose/unsafe wiring | Low |  | High | High | Insulated connections and supervised testing |  | Low |
| Network interruption | Medium |  | Medium | Medium | Local buffering / retry where supported |  | Low-Medium |
| Data loss | Low |  | Medium | Low-Medium | Periodic storage checks and backup |  | Low |
| Over-threshold load | Medium |  | Medium | Medium | Alert and user notification |  | Low-Medium |

# CHAPTER 4: IMPLEMENTATION, TESTING & RESULTS, PROJECT MANAGEMENT

## 4.1 Development Approach & Resources

The project follows an iterative engineering approach. Requirements are first converted into a system architecture and measurable specifications. The measurement, processing, storage, and dashboard functions are then developed and integrated incrementally. Testing is performed at subsystem and system levels, followed by analysis of collected readings and refinement of the interface and thresholds.

| Resource | Purpose |
| --- | --- |
| Electrical energy sensor / digital energy meter | Voltage/current/power/energy measurement |
| Microcontroller or gateway (as selected) | Data acquisition and processing |
| Computer / development system | Software development and analysis |
| Database | Time-stamped measurement storage |
| Dashboard / web application | Real-time visualization |
| Test loads / reference meter | Verification and comparison |

## 4.2 Hardware / Software / Fabrication Implementation & Modern Tools Used

### Hardware Implementation

The hardware stage connects the selected measurement device to the processing or gateway unit using a safe and appropriately rated interface. The measurement device is configured according to its operating range and communication protocol. Only controlled and supervised electrical testing should be performed.

### Software Implementation

The software receives measurement records, validates fields, assigns timestamps, calculates or formats energy metrics, stores data, and supplies values to the dashboard. The visualization layer presents numerical indicators and trend charts. A threshold module can compare current power with a configured limit and generate an alert state.

| Tool / Software / Equipment | Purpose | Stage Used |
| --- | --- | --- |
| VS Code / IDE | Software development | Implementation |
| Python / JavaScript or selected language | Data processing and application logic | Implementation |
| SQL database | Historical data storage | Implementation |
| Web dashboard | Visualization | Implementation |
| Spreadsheet / plotting tool | Result analysis | Testing & Analysis |
| Digital multimeter / reference meter | Basic verification | Testing |

## 4.3 Test Plan & Verification

| Requirement | Test Method | Specification / Required Value | Acceptance Criterion | Achieved Value |
| --- | --- | --- | --- | --- |
| Voltage/current acquisition | Compare readings with reference | Within selected measurement tolerance | Difference within defined tolerance | To be filled from experiment |
| Power calculation | Apply known load and compare | Calculated value consistent with reference | Acceptable error | To be filled |
| Energy accumulation | Run load for known duration | Energy increases consistently | Trend and units correct | To be filled |
| Data storage | Inspect records over test period | Time-stamped entries present | No unexpected gaps | To be filled |
| Dashboard | Observe live updates | Configured update interval | Values refresh correctly | To be filled |
| Alert | Apply threshold condition | Alert activates at threshold | Correct alert state | To be filled |

## 4.4 Results

The final report should present measured values from the completed prototype rather than assumed results. Recommended result tables include voltage, current, power, energy, timestamp, load condition, and reference value. Graphs should show power versus time and cumulative energy versus time. Any measured error should be calculated and reported using the project's actual test data.

| Test Condition | Voltage (V) | Current (A) | Power (W) | Energy (kWh) | Status |
| --- | --- | --- | --- | --- | --- |
| Load 1 – Low | [fill] | [fill] | [fill] | [fill] | [Pass/Fail] |
| Load 2 – Medium | [fill] | [fill] | [fill] | [fill] | [Pass/Fail] |
| Load 3 – High | [fill] | [fill] | [fill] | [fill] | [Pass/Fail] |

## 4.5 Data Analysis & Engineering Judgment

Power-consumption analysis should identify changes associated with different operating conditions. A stable load is expected to produce a comparatively stable power pattern, while changing loads should produce corresponding changes in the measured power. Cumulative energy should generally increase with operating time when the monitored load is active. Sudden unexpected changes should be investigated for genuine load changes, sensor limitations, communication gaps, or data-processing errors.

For measurement comparison, percentage error can be calculated as |Measured − Reference| / Reference × 100. The engineering interpretation should use the actual calculated error and the accepted tolerance selected for the project. If deviations exceed the target, the likely causes and corrective actions should be documented rather than presenting the result as successful without evidence.

## 4.6 Comparison with Existing Solutions & Achievement of Objectives

| Objective | Evidence | Achievement |
| --- | --- | --- |
| Identify required parameters | System requirements and design | Fully |
| Acquire measurements | Measurement subsystem and test records | To be validated |
| Calculate power and energy | Processing equations and software output | To be validated |
| Store historical readings | Database records | To be validated |
| Visualize real-time data | Dashboard screenshots | To be validated |
| Analyze consumption | Graphs and statistical/error analysis | To be validated |

## 4.7 Strengths & Limitations

Strengths:

Provides continuous visibility of energy-related measurements.

Combines monitoring, storage, visualization, and analysis.

Supports historical comparison instead of only instantaneous observation.

Can be extended with alerts and additional analytics.

Provides a practical platform for energy-awareness and efficiency studies.

Limitations:

Measurement quality depends on the selected sensor or energy meter.

Prototype scale may limit the number of simultaneously monitored loads.

Communication failures can affect real-time updates if buffering is not implemented.

Results are dependent on the actual test conditions and reference equipment.

Advanced prediction and automatic energy optimization are outside the basic project scope.

## 4.8 Project Planning, Roles & Budget

| Milestone |  |  | Planned Activity |  |  |
| --- | --- | --- | --- | --- | --- |
| Week 1 |  |  | Problem identification and requirement analysis |  |  |
| Week 2 |  |  | Literature review and architecture design |  |  |
| Week 3 |  |  | Hardware/software selection |  |  |
| Week 4 |  |  | Measurement and data-acquisition implementation |  |  |
| Week 5 |  |  | Database and dashboard development |  |  |
| Week 6 |  |  | Integration and initial testing |  |  |
| Week 7 |  |  | Data collection and analysis |  |  |
| Week 8 |  |  | Documentation, validation and final presentation |  |  |
| Student | Assigned Responsibility | Actual Contribution |  | Estimated Cost | Actual Cost |
| Student 1 | Hardware and measurement | [fill] |  | [fill] | [fill] |
| Student 2 | Software and dashboard | [fill] |  | [fill] | [fill] |
| Student 3 | Database and analytics | [fill] |  | [fill] | [fill] |
| Student 4 | Testing and documentation | [fill] |  | [fill] | [fill] |

# CHAPTER 5: CONCLUSION, FUTURE WORK AND REFLECTION

## 5.1 Conclusion

The Real-time Energy Monitoring and Power Consumption Analysis project provides an integrated engineering approach for observing electrical consumption continuously and converting measurements into useful information. The proposed system combines measurement, processing, data storage, visualization, and consumption analysis so that users can understand current usage and historical patterns.

The project addresses the limitations of relying only on periodic observation by introducing a structured monitoring workflow. Successful validation depends on the actual measurements obtained during testing, including comparison with a suitable reference and verification of data storage and dashboard behavior. Overall, the project establishes a practical foundation for energy-awareness applications and future intelligent energy-management systems.

## 5.2 Future Work

Add multi-channel monitoring for several rooms, appliances, or circuits.

Introduce long-term trend analysis and automated reporting.

Develop predictive models for expected energy consumption.

Add configurable notifications for unusual consumption patterns.

Integrate renewable-energy generation measurements such as solar output.

Develop load classification to estimate which equipment contributes to consumption.

Add secure remote access and scalable cloud-based storage where required.

Explore automated energy-management actions under appropriate safety controls.

## 5.3 Professional Learning & Individual Reflection

New Knowledge Acquired:

Electrical measurement concepts and power/energy calculations.

Real-time data acquisition and time-series data handling.

Database integration and dashboard visualization.

Testing, validation, error calculation, and engineering interpretation.

System-level integration of hardware and software components.

Engineering & Professional Skills Developed:

Requirement analysis and system architecture design.

Programming, database management, and visualization.

Experimental planning and technical documentation.

Risk identification and safety-aware engineering practice.

Team coordination, problem solving, and technical communication.

Individual Reflection – Student 1: The most difficult task was integrating reliable measurement with the software workflow. I addressed this by dividing the system into smaller interfaces and testing each stage independently. I learned how measurement constraints affect software decisions and gained practical experience in verification and documentation. If repeating the project, I would plan calibration and reference testing earlier.

Individual Reflection – Student 2: The main challenge was presenting continuously changing measurements in a simple and meaningful dashboard. I improved the design by focusing on essential indicators, units, trends, and threshold information. This strengthened my skills in interface design, data visualization, and interpreting time-series data. In a future version, I would add more interactive analysis features.

# REFERENCES

[1] IEC, “Electricity metering equipment (AC) – General requirements, tests and test conditions,” IEC 62052-11.

[2] IEC, “Electricity metering equipment (AC) – Particular requirements,” relevant parts of the IEC 62053 series.

[3] Manufacturer datasheet for the selected energy measurement sensor / digital energy meter.

[4] Manufacturer datasheet for the selected microcontroller, gateway, or communication module.

[5] Documentation for the selected database and dashboard/software framework.

[6] Relevant research papers on IoT-based energy monitoring, smart metering, and energy consumption analytics.

[7] Institutional laboratory and electrical safety guidelines applicable to the project.

# APPENDICES

## Appendix A – Detailed Calculations

Include detailed voltage/current/power/energy calculations, percentage-error calculations, sampling-interval calculations, and any database or communication calculations used in the project.

## Appendix B – Engineering Drawings / Schematics

Insert the final system architecture, electrical measurement arrangement, wiring schematic, data-flow diagram, and dashboard architecture.

## Appendix C – Source Code / Code Repository Information

Include only essential code excerpts in the report. Maintain the complete source code in the approved repository and provide the repository information as required by the department.

## Appendix D – Datasheets

Attach datasheets for the selected energy sensor/meter, controller, communication hardware, and other critical components.

## Appendix E – Experimental / Raw Data

Attach the complete time-stamped measurement dataset used for testing and analysis.

## Appendix F – Ethics / Institutional Approval

Include applicable approvals or statements where required.

## Appendix G – Project Meeting / Progress Records

Include meeting dates, progress notes, decisions, and supervisor feedback.

## Appendix H – User / Industry Feedback

Include feedback collected from intended users or relevant stakeholders where applicable.

## Appendix I – Publications / Patents / Competitions / Product Outcomes

Include evidence if applicable.

## Appendix J – Individual Contribution Evidence

Include screenshots, commit history, test records, design files, or other evidence supporting individual contributions.